# CEP

Design a system that detects and monitors a person’s heart health and performs an analysis of them to determine if they are in danger or not. If they are in danger the system should alert the user and notify selected contacts should no intervention occur. The system needs to be comfortable to wear, operate efficiently on battery power and easy to use.

The system is complex because:

- It requires research and knowledge about the human heart, heart rate, breath rate, SpO2 and how they correlate to stress experienced by a person.

- there are different ways to measure heart health depending on where the device needs to be situated on the human body and each way offers a different implementation of the device

- the concept of wearable healthcare devices that are accurate is fairly new and not that much research currently exists.

- The system needs to balance comfort of the device with the accuracy of measurements obtained and battery capacity

# Core areas

Physical comfort

Battery optimization

embedded system design

sig processing??**

communication between device and app??**

# Specialist knowledge areas

Cardiac arrhythmias (heart health-irregularities in heartbeats) (sig proc)

Analysis of breath rate (sig proc)

Real-time processing and detection/ real time embedded systems (rtc)

PPG (photoplethysmography) (using light to determine blood volume changes)

ECG (electrocardiogram) (using electric pulses generated by the heart to determine condition)

Battery optimization via software ??**

# Optimizations

Wearability/comfort (ergonomic)

Cost factor

Ease of use

User-friendliness

Continuous monitoring

# Target metrics

Accuracy

Response time

Detection:

- High true pos

- High True neg

- Low False pos

- Minimum False neg (practically zero)

Battery use